## Cuttack
List of Ongoing Water Supply Projects under PHEO
Sl. No. | District | P.H. Division | Name of the ULB | Name of the Project
1 | Cuttack | Cuttack | Athagarh | Construction of 5.00 MLD Intake Well, 1.00 lakh ltr capacity ESR inside Sub-Division, Hospital Campus and laying of pipe line in newly developing areas in different wards with other ancilary works under Athagarh NAC.
2 | Cuttack | Cuttack | Athagarh | Improvement of water supply of Athagarh NAC for upgradation to 24x7 water supply system under AMRUT.
3 | Jagatsinghpur | Cuttack | Jagatsinghpur | Sinking of Production Well, pipe line connection, construction of pump house, compound wall with internal & external electrification and commissioning at Ward No. 17 in Jagatsinghpur Municipality.
4 | Jagatsinghpur | Cuttack | Jagatsinghpur | Sinking of Production Well, pipe line connection, construction of pump house, compound wall with internal & external electrification and commissioning at Ward No. 19 in Jagatsinghpur Municipality.
5 | Jagatsinghpur | Cuttack | Jagatsinghpur | Sinking of 200 mm dia Production Well, pipe line connection, Construction of pump house, compound wall with internal & external electrification including MS works, interconnection, fitting valve and commissioning at Ward No. 16 in Jagatsinghpur Municipality.
6 | Jagatsinghpur | Cuttack | Jagatsinghpur | Sinking of Production Well, pipe line connection, Construction of pump house & compound wall , connection to existing pipe line with internal & external electrification and commissioning including MS work at Ward No. 8 in Jagatsinghpur Municipality.
7 | Jagatsinghpur | Cuttack | Paradeep | Sinking of 200 mm dia Production Well and commissioning with internal & external electrification, construction of pump house in Ward No. 05 of Paradeep Municipality.
8 | Jagatsinghpur | Cuttack | Paradeep | Sinking of 200 mm dia Production Well and commissioning with internal & external electrification, construction of pump house, sump for Bhitaragada area in Ward No. 4 of Paradeep Municipality.
9 | Jagatsinghpur | Cuttack | Paradeep | Laying of D.I pipe line to Bhitaragada in ward No-4 of Paradeep Municipality.
10 | Jagatsinghpur | Cuttack | Paradeep | Laying of D.I pipe line in ward No-5 Rice Mill area of Paradeep Municipality.
11 | Jajpur | Cuttack | Jajpur | Replacement of defunct production well at Kuansarpur in Jajpur Municipality.
12 | Kendrapara | Cuttack | Kendrapara | Laying of D.I pipe line near existing Intake Well in Kendrapara Municipality.
13 | Jajpur | Cuttack | Jajpur | Jajpur (100 seated medical college and 500 bedded teaching hospital)
14 | Jagatsinghpur | Cuttack | Jagatsinghpur | Construction of RCC over ground tank and pipe line connection for cremation ground at Ward No. 01 & 11 in Jagatsinghpur Municipality.
15 | Jagatsinghpur | Cuttack | Jagatsinghpur | Construction of RCC over ground tank and pipe line connection for cremation ground at Ward No. 14,17,19 & 21 in Jagatsinghpur Municipality.
16 | Jagatsinghpur | Cuttack | Jagatsinghpur | Construction of 25 KVA, 11/0.4 KV, D.P mounted DSS, 3ph 3 wire 11 KV O.H line & Guarding -1 span for power supply to PHD point at Deuligrameswar, Ward No. 17 in Jagatsinghpur Municipality.
17 | Jagatsinghpur | Cuttack | Jagatsinghpur | Construction of 25 KVA, 11/0.4 KV, D.P mounted DSS, 3ph 3 wire 11 KV O.H line for power supply to PHD point at Purohitpur, Ward No. 19 in Jagatsinghpur Municipality.
18 | Cuttack | Cuttack | Banki | Repair of sluice valve chambers in different wards in Banki NAC.
19 | Jajpur | Cuttack | Jajpur | Three phase wiring and Panel board repairing of Bilua Sahi & Kuansarpur at Jajpur, in Japur Municipality.
20 | Jagatsinghpur | Cuttack | Jagatsinghpur | Sinking of IM-II hand pump tube well at Cremation Ground, Ward No. 05 & 06 in Jagatsinghpur Municipality.
21 | Jagatsinghpur | Cuttack | Jagatsinghpur | Sinking of IM-II hand pump tube well at Cremation Ground, Ward No. 11 & 17 in Jagatsinghpur Municipality.
22 | Cuttack | Cuttack | Athagarh | Repair of damaged boundary wall of WTP in Athagarh NAC.
23 | Jagatsinghpur | Cuttack | Jagatsinghpur | Construction of 25 KVA, 11/04 KV, D.P mounted DSS, 3 ph 3 wire 11 KV O.H line & guarding-I span for power supply to PHD point at Potala, (Tareni Sahi) Ward No. 08 in Jagatsinghpur Municipality.
24 | Kendrapara | Cuttack | Kendrapara | Fitting fixing of 80mm dia G.I Column pipe in different pump houses under Kendrapara.
25 | Cuttack | Cuttack | Choudwar | Extension of 110 mm dia HDPE pipe line from Hemanta Kumar Beura Res to Sunshine Club in Ward No. 3 of Choudwar Municipality.
26 | Kendrapara | Cuttack | Kendrapara | Re-Construction of damage Main Gate and Cycle Stand at WTP Ichhapur in Kendrapara Municipality.
27 | Kendrapara | Cuttack | Kendrapara | 150mm dia G.I pipe line Canal Crossing due to Widening of Canal at Santasahi Luck in Kendrapara Municipality.
28 | Kendrapara | Cuttack | Kendrapara | 150mm dia G.I pipe line Canal Crossing near Ekanakhandi Bridge in Kendrapara Municipality.
29 | Kendrapara | Cuttack | Kendrapara | 150mm dia G.I pipe line Canal Crossing near Sub-Collector Res at Mankarpur in Kendrapara Municipality.
30 | Kendrapara | Cuttack | Kendrapara | Water supply to Aganwadies & Schools in Kendrapara Municipality.
31 | Kendrapara | Cuttack | Kendrapara | Improvement of water Supply to Kendrapada Municipality including O&M for 5 years AMRUT 2.0, SWAP-II.
32 | Jagatsinghpur | Cuttack | Paradeep | Completion of sump work with commissioning of pump near Santoshinagar in Ward No. 05 of Paradeep Municipality.
33 | Jagatsinghpur | Cuttack | Paradeep | Construction of sump near Santoshinagar in Ward No. 05 of Paradeep Municipality.
34 | Jagatsinghpur | Cuttack | Jagatsinghpur | Construction of Pump house at Dist. Jail, Alipingal in Jagatsinghpur Municipality.
35 | Jagatsinghpur | Cuttack | Paradeep | Sinking of a 100mmx50mm dia deep hand pump tube well through hand boring water jet method and installation of IM-II hand pump at Ward No. 02 of Paradeep Municipality.
36 | Jagatsinghpur | Cuttack | Paradeep | Sinking of a 100mmx50mm dia deep hand pump tube well through hand boring water jet method and installation of IM-II hand pump at Gopal Jew colony, Ward No. 11 of Paradeep Municipality.
37 | Jajpur | Cuttack | Jajpur | Renovation of W/S,S/I & S/D system of Boys washroom of Administrative building of I.T.I college Jajpur
38 | Jajpur | Cuttack | Jajpur | Renovation of W/S and S/I to system to Girls Hostel of I.T.I college, Jajpur
39 | Jajpur | Cuttack | Jajpur | Renovation of Staffs washroom & Principal washroom of Govt. I.T.I Jajpur
40 | Kendrapara | Cuttack | Pattamundai | Operation & maintenance of Pump houses through production well for water supply to Pattamundai municipality for a period of 6 months (180 days)
41 | Kendrapara | Cuttack | Pattamundai | Lowering of pump motors in different pump house ( 6 Nos) with compressor wash under Pattamundai Municipality.
42 | Cuttack | Cuttack | Athagarh | Water supply to Anganwadies & Schools for 2023-24 & 2024-25 under Athagarh NAC.
43 | Kendrapara | Cuttack | Pattamundai | Colouring of 7 nos of Pump house & Compound wall in ward no 12 to 20) under Pattamundai Municipality
44 | Kendrapara | Cuttack | Pattamundai | Colouring of 7 nos of Pump house & Compound wall in ward no 3 to 11) under Pattamundai municipality
45 | Cuttack | Cuttack | Banki | Repair & renovation of PH Section office Building at Kacheri Chhaka in Banki NAC.
46 | Cuttack | Cuttack | Banki | Special repair to block colony pump house & SDJM Court Building pump house in Banki NAC.
47 | Kendrapara | Cuttack | Pattamundai | Repair of 160mm, 110mm & 90mm dia PVC/HDPE/MS pipe line from Ward No. 11 to 15 of Pattamundai Municipality.
48 | Kendrapara | Cuttack | Pattamundai | Repair of 160mm, 110mm & 90mm dia PVC/HDPE/MS pipe line from Ward No. 1 to 5 of Pattamundai Municipality.
49 | Jagatsinghpur | Cuttack | Jagatsinghpur | Construction of 25 KVA 11/0.4 KV DP mounted DSS, 3phase 3 wire for power supply to PHD point at Panisalia (Nadiabag), Ward No. 16 in Jagatsinghpur Municipality.
50 | Jagatsinghpur | Cuttack | Jagatsinghpur | LTAB cable line length with 33 mtr span 3x35+1x25 = 0.45KM at PHD point at Panisalia (Nadiabag), Ward No. 16 in Jagatsinghpur Municipality.